INTERIM PROGRESS REPORT (IPR)

Arrhythmia Recognition Using Neural Networks:

A Comparative Study of MLP, 1D-CNN and LSTM Architectures

Reporting Period: Weeks 1 – 9

Student Name:  Hariprasad Murugesan

Student ID:  24135993

Course:  MSc Data Science and Analytics

Module:  7COM1039-0509-2025 — Advanced Computer Science Masters Project

Supervisor:  Neeli Khalid

Institution:  University of Hertfordshire

# Table of Contents

Chapter I — Introduction & Overview	3

1.1 Background	3

1.2 Problem Statement	3

1.3 Research Aim	4

1.4 Research Objectives	4

1.5 Research Questions	4

1.6 Project Scope	5

1.7 Proposed Practical Investigation	5

1.8 Methodology Overview	5

1.9 Tools and Technologies	6

1.10 Expected Deliverables	6

1.11 Ethical, Legal, Professional and Social Issues	6

Chapter II — Progress to Date	6

2.1 Literature Review Progress	6

2.2 Dataset Collection and Preparation	9

2.3 Exploratory Data Analysis	9

2.4 Feature Engineering	9

2.5 Machine Learning Model Development	10

2.6 Deep Learning Model Development	10

2.7 Prototype / Demonstration Design Progress	10

2.8 Results	11

2.9 Problems Encountered	12

2.10 Evidence of Work Completed	13

Chapter III — Planned Work	13

3.1 Remaining Tasks	13

3.2 Project Timeline	14

3.3 Evaluation Plan	14

3.4 Success Criteria	14

3.5 Risk Management and Contingency Planning	14

Bibliography	15

Appendices	16

Appendix A: 12-Week Project Gantt Chart	16

Appendix B: Preprocessing Validation Figures	16

Appendix C: Key Code Listings	17

Appendix D: GitHub logs	18

# Chapter I — Introduction & Overview

## 1.1 Background

Cardiovascular disease is the single largest cause of death worldwide and the World Health Organisation puts the annual figure at roughly 17.9 million people. A good share of those deaths involves cardiac arrhythmias, which are disturbances in the heart’s electrical rhythm that range from completely benign to immediately life-threatening. The electrocardiogram (ECG) is still the standard non-invasive way of recording this electrical activity, and automating the classification of individual heartbeats has been an active research problem for decades because it promises faster and more consistent screening than manual reading.

Three problems keep resurfacing in the literature, and they are the ones this project is built around. Real ECG recordings are noisy: they pick up muscle movement, poor electrode contact, and mains interference. The benchmark datasets, MIT-BIH above all, are overwhelmingly made up of normal beats, so a model can post a high overall accuracy while barely recognising the rarer arrhythmia types that actually matter clinically. And several beat categories look similar enough on the waveform that even carefully trained models confuse them. My project sits inside that space and asks how three different neural network designs (an MLP, a 1D-CNN, and an LSTM) cope with the same noise, the same imbalance, and the same overlap.

## 1.2 Problem Statement

Most published work tests a single architecture on its own, under its own preprocessing, its own train/test split, and its own choice of metric. That makes it very hard to compare one paper against another, because an apparent improvement could just as easily come from the setup as from the model. A second and subtler issue is patient-level data leakage. If beats from the same patient end up in both the training and test sets, the model can quietly learn to recognise that individual’s signal rather than the arrhythmia itself, and the reported accuracy is inflated in a way that will not survive contact with a new patient.

The problem I am addressing is the absence of a fair, same-conditions comparison between a feature-engineered MLP and two architectures that learn straight from the raw signal (1D-CNN and LSTM), all evaluated on MIT-BIH with strict patient-level separation and a single consistent strategy for class imbalance.

## 1.3 Research Aim

The aim is to evaluate and compare three neural network architectures (MLP, 1D-CNN, and LSTM) for automated cardiac arrhythmia detection on the MIT-BIH Arrhythmia Database, through one reproducible preprocessing and evaluation pipeline, in order to establish which architecture best handles the noise, class imbalance, and overlapping decision boundaries that characterise real ECG data.

## 1.4 Research Objectives

- Review the literature on traditional machine learning and deep learning approaches to arrhythmia recognition and identify their limitations on real-world ECG.

- Acquire and preprocess ECG data from the MIT-BIH Arrhythmia Database, including signal filtering, R-peak detection, and beat segmentation.

- Engineer multi-domain feature representations (time, frequency, and wavelet) as the input for the MLP baseline.

- Implement and tune the MLP, 1D-CNN, and LSTM models for multi-class beat classification.

- Evaluate each model using sensitivity, specificity, macro-F1, AUC-ROC, and Cohen’s Kappa under patient-wise cross-validation.

- Assess how SMOTE affects minority-class recognition on the feature-based path.

- Carry out error analysis to surface the dominant misclassification patterns.

- Draw evidence-based conclusions on which architecture is best suited to scalable, patient-independent screening.

## 1.5 Research Questions

- What arrhythmia recognition techniques already exist, and what are their main limitations when they meet real-world ECG data?

- How do MLP, 1D-CNN, and LSTM architectures compare when classifying MIT-BIH beats under identical, leakage-free conditions?

- How much does SMOTE improve per-class sensitivity on the minority arrhythmia classes for the feature-based path?

- How much does the feature representation, whether time, frequency, or wavelet, affect performance compared with feeding the raw sequence directly to the deep models?

## 1.6 Project Scope

The project covers the full pipeline for beat classification on MIT-BIH: parsing the raw signal and annotation files, denoising and segmenting the signal around each detected beat, mapping beats onto the five AAMI EC57 classes (N, S, V, F, Q) and training along with evaluating the three architectures under matched conditions. The comparison includes the effect of SMOTE on the feature path and a Wilcoxon signed-rank test to check whether the differences between models are real or just fold-to-fold variance.

It does not extend to real-time or embedded deployment to full 12-lead analysis or to clinical validation on new patients. Those are sensible directions for later, but they sit outside what one person can do well inside a 12-week module.

## 1.7 Proposed Practical Investigation

The practical work is organised as one reproducible Python pipeline rather than three separate scripts, and fairness is enforced right at the segmentation stage. Every beat is cut into the same fixed window (250 ms before and 400 ms after the R-peak, which is 234 samples at 360 Hz) and standardised with a per-beat Z-score. That shared window is the common foundation from which every input representation is derived, so no architecture ever sees more of the signal than another.

From that window the pipeline splits into two input paths. The engineered-feature path computes time-domain statistics, frequency-domain features, and Daubechies-4 wavelet energies from each beat and concatenates them into a compact 12-dimensional vector; this is the MLP’s input. The raw-sequence path hands the 234-sample voltage trace straight to the 1D-CNN and the LSTM, with no hand-crafted features, so those models learn their own representations. Because both paths start from the same normalised window, any performance gap reflects architectural capacity rather than an information advantage.

## 1.8 Methodology Overview

Dataset and preprocessing: The data source is the MIT-BIH Arrhythmia Database, 48 half-hour recordings from 47 subjects, accessed through PhysioNet. Each record is read in WFDB format and its beats mapped to the five AAMI EC57 classes. Signals are denoised with a zero-phase 0.5–40 Hz Butterworth band-pass, R-peaks are located with the GQRS detector, and each beat is segmented into the shared 234-sample window and Z-scored.

Splitting by patient: The data is partitioned at the record level, not the beat level. Every fold holds out complete patients, so no beat from a held-out patient ever appears in training. This is deliberately more conservative than a random beat-wise split, which would let a model exploit an individual’s signal identity the leakage that inflates accuracy by several points in the published work. A patient-wise estimate is the one that matters for real deployment.

Handling imbalance: The strategy differs by path, on purpose. On the MLP’s feature vectors, SMOTE is applied inside each training fold only, after the split, because interpolating between scalar feature vectors produces plausible minority-class points. For the raw-sequence models, SMOTE is not used: averaging two raw ECG waveforms sample-by-sample can create physiologically impossible morphologies, so class-weighted cross-entropy is used instead.

Optimisation and evaluation: All three models are tuned with a grouped inner cross-validation search on macro-F1, then evaluated with a ten-fold patient-wise loop. I report per-class sensitivity and specificity (with particular attention to V and to the rare F class), macro-F1, AUC-ROC, and Cohen’s Kappa, and I use a paired Wilcoxon signed-rank test at α = 0.05 on the per-fold macro-F1 to decide whether the architectures actually differ.

## 1.9 Tools and Technologies

The implementation uses Python 3.10 with NumPy and SciPy for numerical work, WFDB for reading the MIT-BIH records, PyWavelets for the wavelet features, scikit-learn for the MLP baseline and the evaluation metrics, and imbalanced-learn for SMOTE. The 1D-CNN and LSTM are built in TensorFlow/Keras and trained on an NVIDIA RTX 4060 laptop GPU through WSL2 Ubuntu. Matplotlib and Seaborn handle the signal, distribution, and results plots. Literature has come through IEEE Xplore, PubMed, and ScienceDirect via the university library.

## 1.10 Expected Deliverables

- A reproducible Python codebase covering the whole pipeline, from raw signal to model evaluation, released on GitHub under an open-source licence.

- A like-for-like comparison of the feature-engineered MLP against the representation-learning 1D-CNN and LSTM.

- Evidence-based conclusions on which architecture best handles noise, imbalance, and class overlap on MIT-BIH.

- A browser-based demonstration application that presents the trained models’ results interactively (planned; see Section 2.7).

- A completed dissertation covering methodology, results, error analysis, and documented code.

## 1.11 Ethical, Legal, Professional and Social Issues

MIT-BIH is a public, de-identified dataset distributed through PhysioNet under an open licence, so the project does not recruit participants or collect new patient data. It contains no identifiable information and falls outside the UK GDPR definition of personal data, so no ethics approval beyond the standard secondary-data declaration is needed. On the professional side, the code will be released on GitHub with the dataset cited under PhysioNet’s terms and every result will be framed as a research comparison between architectures rather than as a validated diagnostic tool, so there is no risk of implying the models are ready for clinical use.

# Chapter II — Progress to Date

## 2.1 Literature Review Progress

The literature review is complete. I worked through eleven core sources alongside wider background reading, organised into four strands: the classical feature-engineering era, the deep-learning and hybrid-attention era, imbalance handling, and evaluation methodology. Reading them together is what fixed the direction of the project and the four research questions. The recurring pattern is that most studies test a single architecture, under their own preprocessing and train/test split, and only a minority control for patient-level leakage; headline accuracies are therefore hard to compare and often optimistic. The sources that shaped the design most directly are summarised in Table 2.1, with the narrative below organised by strand.

The classical strand is anchored by de Chazal, O’Dwyer and Reilly (2004), who combined ECG morphology with RR-interval features and, crucially, evaluated on a strict inter-patient split under the AAMI class scheme. That paper is the reason this project treats patient-wise splitting as non-negotiable: results from record-wise splits, where beats from the same patient appear in both training and test, are known to be optimistic. Moody and Mark (2001) supply the MIT-BIH database itself — 48 half-hour two-lead records at 360 Hz with expert beat annotations — which is the common substrate the comparison is built on.

The deep-learning strand runs from Kiranyaz, Ince and Gabbouj (2016), who introduced a real-time 1-D CNN for beat classification, through to a cluster of recent hybrid-attention models: Sun et al. (2024) add squeeze-and-excitation attention to a CNN-LSTM; Jahan et al. (2025) and Mirdan (2025) attach attention to recurrent-convolutional backbones; and Thota et al. (2025) push a lightweight CNN-attention-BiLSTM onto wearable signals. Hannun et al. (2019) sit slightly apart because their 34-layer CNN reaches cardiologist-level performance, but only on a very large private dataset, so it functions as an aspirational ceiling rather than a reproducible baseline on MIT-BIH. Across this strand the field has clearly moved from hand-crafted features towards representation learning with attention.

The third and fourth strands concern imbalance and evaluation. Rahman et al. (2022) and Shahnawaz et al. (2026) tackle class imbalance directly the latter through data augmentation and feature selection while the systematic review by Jaya Prakash et al. (2025) confirms, across many studies, that class imbalance rather than architecture is the dominant limiting factor, and that inconsistent evaluation protocols make cross-paper comparison unreliable. Quan et al. (2018), though from a different domain, offers the methodological template for comparing CNN- and LSTM-based models under a single protocol.

Table 2.1 — Core literature: approach, dataset and split, contribution, and the specific gap each leaves that this project addresses. The shared weakness — single-architecture testing without leakage control — is what the four research questions close.

| Study | Approach / architecture | Dataset & split | Key contribution | Gap this project targets |
| --- | --- | --- | --- | --- |
| Moody & Mark (2001) | Benchmark database description | MIT-BIH: 48 half-hour records, 2 leads, 360 Hz, expert beat annotations | Established the benchmark dataset and AAMI-mappable annotations used across the field | Defines the data, not a method; used here as the common substrate for a fair comparison |
| de Chazal, O’Dwyer & Reilly (2004) | Hand-crafted morphology + RR-interval features with linear discriminants | MIT-BIH, AAMI classes, strict inter-patient (patient-disjoint) split | Set the patient-independent evaluation paradigm; showed morphology + interval features are strong | Classical features only; motivates comparing a feature-engineered MLP against raw-signal deep models under the same patient-wise split |
| Kiranyaz, Ince & Gabbouj (2016) | 1-D CNN on raw beats | MIT-BIH, patient-specific (some patient data in training) | First real-time 1-D CNN for beat classification; efficient and adaptive | Patient-specific setup does not test cross-patient generalisation, which this project measures with patient-wise folds |
| Hannun et al. (2019) | 34-layer deep CNN | Very large private single-lead ambulatory set (~53k patients) | Cardiologist-level rhythm detection at scale | Needs massive labelled data and is not reproducible on MIT-BIH; an aspirational ceiling, not a comparable baseline |
| Rahman et al. (2022) | Deep-learning (CNN-based) classifier | MIT-BIH | Reports strong deep-learning arrhythmia detection | Single-architecture focus; limited like-for-like baseline and imbalance analysis |
| Sun et al. (2024) | CNN-LSTM with squeeze-and-excitation attention | MIT-BIH | Channel attention sharpens feature use; strong reported accuracy | One hybrid architecture, no matched simple baseline; imbalance handling light |
| Jahan et al. (2025) | CNN-LSTM-attention hybrid | Digitised ECG (MIT-BIH-style) | Attention improves minority-class recall | Single architecture; patient-wise split and leakage control not clearly established |
| Mirdan (2025) | Deep attention-based model | MIT-BIH | Attention gains on beat classification | Imbalance and patient-wise split not fully addressed |
| Thota et al. (2025) | Lightweight CNN-attention-BiLSTM | Standard + wearable ECG | Small model that works on wearable signals | Reports overall accuracy; per-class (rare-class) detail thin |
| Shahnawaz et al. (2026) | Data augmentation + optimal feature selection | MIT-BIH | Augmentation and feature selection lift minority classes | Feature/augmentation focus rather than a controlled architecture comparison |
| Jaya Prakash et al. (2025) | Systematic review of ML/DL for ECG beat classification | Survey across many datasets incl. MIT-BIH | Synthesises the field; identifies class imbalance as the dominant open problem | Confirms the gap (imbalance, inconsistent evaluation) rather than resolving it |

Two conclusions follow, and they map onto the four research questions. First, almost no study compares a feature-engineered baseline against raw-signal deep models under one honest, patient-wise protocol, so the first two research questions target exactly that like-for-like comparison of the MLP, 1-D CNN and LSTM. Second, because imbalance is the real bottleneck, the third research question isolates the effect of SMOTE on minority-class recall and the fourth tests how much the feature representation itself contributes. The review therefore does more than survey prior work: it justifies keeping a cheap feature-engineered MLP in the comparison and building the whole evaluation around patient-wise folds and per-class metrics.

## 2.2 Dataset Collection and Preparation

This stage is finished. All 48 MIT-BIH records were downloaded and verified through the wfdb package, with the 360 Hz sampling rate and two-channel layout (MLII and V5) confirmed on record 100. I started with a handful of records to prove the loading worked end to end before committing to the full set, which saved time when a couple of records needed their annotation files handled slightly differently.

## 2.3 Exploratory Data Analysis

EDA is complete. Mapping every record’s raw annotation symbols onto the five AAMI classes gives 109,454 labelled beats, and the class split is as lopsided as the literature warned: N dominates at 82.8%, and the clinically important F class is barely there at 0.7%. This is the imbalance that motivates the SMOTE and class-weighting choices, so it is worth seeing plainly.

Figure 2.1 — Beat counts per AAMI class across the full dataset. N accounts for over four in five beats; F is under one in a hundred.

Signal quality was checked with a before/after comparison of the raw trace against the 0.5–40 Hz zero-phase Butterworth output and R-peak detection was validated against the expert annotations on record 100 (2,272 detected against 2,273 true beats, giving a sensitivity of 0.9996 and a positive predictive value of 1.0000). Both figures are in Appendix B.

## 2.4 Feature Engineering

Feature engineering for the MLP baseline is complete. Each beat is segmented into the shared 234-sample window and reduced to a 12-dimensional vector across three domains such as five time-domain statistics (mean, standard deviation, skewness, kurtosis, RMS), two frequency-domain features (dominant frequency and spectral energy from the FFT) and five Daubechies-4 wavelet sub-band energies at level 4. A patient-wise GroupKFold split was implemented first, with zero patient overlap confirmed between folds and SMOTE is applied to the training fold only so the balancing never leaks into evaluation. I trialled PCA on the feature set but dropped it because at twelve dimensions there is little to gain and standardisation with a fold-fitted StandardScaler proved the cleaner choice.

The effect of SMOTE on the training fold is worth seeing directly. Before balancing, the minority classes are almost invisible next to N and After balancing, each class is brought up to the majority count so the MLP sees roughly equal numbers during training (Figure 2.1b). This only ever happens inside the training fold so the held-out fold keeps its natural, imbalanced distribution, so the evaluation still reflects real-world proportions.

Figure 2.1b — Training-fold class counts before and after SMOTE. Balancing is applied only to the training data; the test fold is left untouched to keep the evaluation honest.

## 2.5 Machine Learning Model Development

The MLP baseline is implemented and fully tuned. It takes the standardised 12-feature vector, uses two hidden layers with dropout, and trains on the SMOTE-balanced feature set with a sparse categorical loss. Its width, depth, dropout, and learning rate were selected through the grouped inner cross-validation search, and its final results are reported in Section 2.8.

## 2.6 Deep Learning Model Development

The 1D-CNN and the LSTM are both implemented and tuned on the raw 234-sample sequences with class-weighted loss. The CNN uses two convolution-and-pooling blocks into a small dense head. LSTM uses a single recurrent layer into a dense head. As with the MLP, their hyperparameters were selected through the grouped inner cross-validation search, and their final results appear in Section 2.8.

## 2.7 Prototype / Demonstration Design Progress

I have designed the demonstration application but not yet built it. The plan is a single-page browser dashboard that shows an example ECG trace, lets the viewer pick a beat morphology and see how the model classifies it, and lays out the final per-class results once the evaluation is done. Keeping it browser-based and driven by the saved results means the demo will not need a live model running at demonstration time. At this point it is a design outline and a set of decisions about layout and content; the implementation is scheduled alongside the final evaluation.

## 2.8 Results

These are the results of the completed comparative evaluation: the three fine-tuned architectures assessed over the full ten-fold patient-wise loop (StratifiedGroupKFold, so every fold holds out whole patients). On macro-F1 the MLP and the CNN come out almost level (0.328 and 0.327), with the LSTM trailing (0.269). The headline finding is that the cheap twelve-feature MLP holds its own against the raw-signal CNN and as the significance testing below confirms that none of the three architectures separates from the others at α = 0.05.

| Model | Macro-F1 (mean ± sd) | Macro AUC-ROC | Cohen’s Kappa |
| --- | --- | --- | --- |
| MLP (12 features + SMOTE) | 0.328 ± 0.099 | 0.763 | 0.282 |
| 1D-CNN (raw sequence) | 0.327 ± 0.100 | 0.760 | 0.317 |
| LSTM (raw sequence) | 0.269 ± 0.049 | 0.671 | 0.200 |

Table 2.2 — Macro-averaged results from the completed ten-fold patient-wise (StratifiedGroupKFold) evaluation of the fine-tuned models, with Cohen’s Kappa reported alongside macro-F1 and macro AUC-ROC.

Figure 2.2 — Per-class F1 on a representative fold. Every model leans on N and V and struggles on S and F, which is the imbalance problem showing through.

Looking at where the errors fall is more informative than the headline score. The confusion matrix for the CNN on a held-out fold (Figure 2.3) shows the pattern the class distribution predicts: the model is confident on V (91% of true V beats correct) but recovers only 63% of true N beats and the largest single error is true N misclassified as V (6,144 beats in this fold). The two smallest classes, S and F, are mostly absorbed into their neighbours, with F essentially unrecoverable. This is a data problem rather than a tuning one, and the formal error analysis in Phase 6 will quantify it in detail. It already reframes the interesting question from “which model wins” to “how far can any of them get on the rare classes given how little F data exists.”

Figure 2.3 — Confusion matrix for the 1D-CNN on a held-out fold (row-normalised). The heavy N-to-V leakage and the near-total loss of F are visible off the diagonal.

Across the ten folds the three architectures are statistically indistinguishable on macro-F1. A paired Wilcoxon signed-rank test with Holm correction returns no significant difference for any pair — CNN versus MLP p = 0.70, CNN versus LSTM p = 0.19, and MLP versus LSTM p = 0.19, all at α = 0.05. Cohen’s Kappa tells the same story of only moderate agreement (CNN 0.317, MLP 0.282, LSTM 0.200). Per class the picture is consistent: the CNN reaches the best V sensitivity (0.87) and the MLP the strongest hold on the majority N class, but all three collapse on the rare F class (sensitivity ≤ 0.17), which confirms that the performance ceiling is set by data scarcity rather than by the choice of architecture.

A feature-domain ablation on the MLP feeds it each input domain in isolation. The wavelet sub-band energies carry most of the discriminative signal (macro-F1 0.30 on their own), with the time- and frequency-domain features weaker at 0.23 each; using all three domains together is best at 0.32. This is the evidence behind keeping the full multi-domain feature vector rather than pruning it, and it begins to answer the fourth research question on how much the feature representation matters.

## 2.9 Problems Encountered

Most of the real work in the last few weeks has been debugging rather than modelling, and a few problems are worth recording. The first was an execution-order bug: run out of order, the notebook quietly reused a stale split, so I consolidated the clean-and-split logic into a single ordered step that rebuilds everything in dependency order. The second was the AAMI label ordering. scikit-learn’s encoder sorts the class names alphabetically, which did not match the clinical order I had assumed, so early plots attached colours to the wrong class until I started reading the class order back from the encoder. The third was SMOTE failing on the sparsest folds, where a minority class had too few samples for the default neighbour count; capping the neighbours at the available count fixed it.

Three more were subtler and cost more time. When some records turned out to carry non-beat annotation symbols (the +, ~, and | markers), a handful of beats came through with no valid class label and crashed both the encoder and SMOTE; I added an explicit validity mask that drops them at source before anything downstream sees them. Keras then threw a dtype error during training because the string labels were reaching the loss function unencoded, which I traced to a missing transform step and fixed by encoding once, up front, with the same fitted encoder used everywhere else. Finally, the AUC-ROC calculation warned and returned nonsense on folds where a rare class was absent from the test set; I now compute AUC only over the classes actually present in a fold and average with a NaN-aware mean. None of these were conceptually hard, but each one was quietly corrupting results until it was found, which is exactly why they are worth flagging in a progress report rather than hiding.

## 2.10 Evidence of Work Completed

- Finalised literature review with the comparison table above and a complete reference list.

- Downloaded and verified the full MIT-BIH database (48 records, 360 Hz, two leads).

- Implemented zero-phase Butterworth filtering and GQRS R-peak detection, validated at 0.9996 sensitivity on record 100.

- Mapped annotations to the five AAMI classes across the full set, giving 109,454 beats and confirming the 82.8% N imbalance.

- Implemented patient-wise GroupKFold splits with zero patient overlap verified.

- Engineered the 12-dimensional feature vector and applied SMOTE to the training fold only.

- Implemented, tuned, and evaluated all three models (MLP, 1D-CNN, LSTM) over the full ten-fold patient-wise loop, including per-class metrics and the Wilcoxon significance test.

- Set up GPU training through WSL2 and a checkpointed run so long jobs can resume.

# Chapter III — Planned Work

## 3.1 Remaining Tasks

With the pipeline built, all three architectures have now been fine-tuned using the grouped inner cross-validation search over width, depth, dropout, and learning rate, and the full ten-fold patient-wise comparative evaluation has been run (per-class sensitivity and specificity, macro-F1, AUC-ROC, Cohen’s Kappa, confusion matrices, and the paired Wilcoxon signed-rank test with Holm correction). This completes Phase 5. The remaining work is about interpreting those results and packaging the project up. The main items are:

- Carry out the error analysis, focusing on the dominant confusions and the near-total loss of the rare F class (Phase 6).

- Build the browser-based demonstration application described in Section 2.7, driven by the saved final results (Phase 6).

- Write up the dissertation (methodology, results, error analysis, and documented code) and prepare the GitHub release. This has not started yet (Phase 7).

## 3.2 Project Timeline

The table summarises the remaining phases; the full 12-week Gantt chart is Appendix A.

| Phase | Weeks | Key tasks |
| --- | --- | --- |
| Phase 6 | 9–11 | Fine-Tuning, Error analysis and the browser-based demonstration application. |
| Phase 7 | 11–12 | Dissertation write-up and GitHub code release. |

## 3.3 Evaluation Plan

Each model was assessed with the ten-fold patient-wise loop, so class proportions stay consistent across folds while patient separation is respected. For every fold I recorded per-class sensitivity and specificity, especially for the minority S, V, F, and Q classes, alongside macro-F1, AUC-ROC, Cohen’s Kappa, and confusion matrices. To compare the three architectures I ran a paired Wilcoxon signed-rank test at α = 0.05 on the per-fold macro-F1, with Holm correction across the three pairwise comparisons so the multiple testing does not manufacture significance; the outcome is reported in Section 2.8. The effect of SMOTE on minority-class recall along the feature path is examined separately as part of the Phase 6 imbalance analysis.

## 3.4 Success Criteria

I will consider the project successful if it delivers a clean, leakage-free comparison of the three architectures on MIT-BIH, with per-class results and a statistical test that lets me say honestly whether they differ; a measured account of what SMOTE does to minority-class recall on the feature path; an error analysis that explains where the ceiling comes from; and a reproducible codebase plus a working demonstration. A particular class of success would be an honest negative result, for instance finding no significant gap between the models, reported as such rather than dressed up, since that is still a useful finding for anyone choosing an architecture.

## 3.5 Risk Management and Contingency Planning

| Risk | Likelihood / Impact | Mitigation / contingency |
| --- | --- | --- |
| Fine-tuning runs take longer than planned on the deep models. | Medium / Medium | Keep the search grids small and grouped; reuse the checkpointed GPU run so long jobs resume instead of restarting. |
| Minority classes (F, S) stay near-unlearnable after tuning. | Medium / Medium | Report the limit honestly, lean on SMOTE and class weighting, and frame F as a data-scarcity result rather than a model failure. |
| Demonstration application slips against the write-up. | Low / Low | The demo is driven by saved results, so it does not depend on a live model and can be built in parallel with the write-up. |
| Dissertation write-up compresses at the end. | Medium / High | Start drafting methodology and results sections as soon as the evaluation is stable, not after it. |

# Bibliography

Shahnawaz, M., Kumawat, N., Singh, T., Satakshi and Kumar, M. (2026) 'An augmented ECG data based classification for arrhythmia using optimal feature set', Health Information Science and Systems, 14(1). https://doi.org/10.1007/s13755-026-00440-3.

Jahan, I., Parsub, W.R., Islam, M.S., Rimi, R.A., Mosharof, F. and Reza, A.W. (2025) 'Enhancing cardiac arrhythmia detection: deep learning-based CNN-LSTM-attention framework for digitized ECG classification', in Bhattacharya, A., Dutta, S., Yang, X.-S. and Goon, S. (eds) Innovations in Data Analytics — ICIDA 2024. Lecture Notes in Networks and Systems, vol. 1408. Singapore: Springer, pp. 245–258. https://doi.org/10.1007/978-981-96-6297-5_19.

Jaya Prakash, A., Nasreddine Belkacem, A., Elfadel, I.M., Jelinek, H.F. and Atef, M. (2025) 'Advances in machine and deep learning for ECG beat classification: a systematic review', Frontiers in Digital Health, 7, art. 1649923. https://doi.org/10.3389/fdgth.2025.1649923.

Mirdan, A.S. (2025) 'A deep attention-based model on MIT-BIH', Journal of Al-Qadisiyah for Computer Science and Mathematics, 17(2), pp. 29–47. Available at: https://jqcsm.qu.edu.iq/index.php/journalcm/article/view/2175 (Accessed: 12 July 2026).

Thota, V., Prajapati, H., Joshi, Y. and Rathi, S. (2025) 'A lightweight CNN-attention-BiLSTM architecture for multi-class arrhythmia classification on standard and wearable ECGs', arXiv. Available at: https://arxiv.org/abs/2511.08650 (Accessed: 12 July 2026).

PhysioNet (2024) MIT-BIH Arrhythmia Database. Available at: https://physionet.org/content/mitdb/1.0.0/.

Sun, A., Hong, W., Li, J. and Mao, J. (2024) 'An arrhythmia classification model based on a CNN-LSTM-SE algorithm', Sensors, 24(19), art. 6306. https://doi.org/10.3390/s24196306.

World Heart Federation (2023) World Heart Report 2023: Confronting the World's Number One Killer. Geneva: World Heart Federation. Available at: https://world-heart-federation.org/wp-content/uploads/World-Heart-Report-2023.pdf.

Rahman, A.U., Asif, R.N., Sultan, K., Alsaif, S.A., Abbas, S., Khan, M.A. and Mosavi, A. (2022) 'ECG classification for detecting ECG arrhythmia empowered with deep learning approaches', Computational Intelligence and Neuroscience, 2022(1), art. 6852845. https://doi.org/10.1155/2022/6852845.

Hannun, A.Y., Rajpurkar, P., Haghpanahi, M., Tison, G.H., Bourn, C., Turakhia, M.P. and Ng, A.Y. (2019) 'Cardiologist-level arrhythmia detection and classification in ambulatory electrocardiograms using a deep neural network', Nature Medicine, 25(1), pp. 65–69. https://doi.org/10.1038/s41591-018-0268-3.

Oh, S.L., Ng, E.Y.K., Tan, R.S. and Acharya, U.R. (2018) 'Automated diagnosis of arrhythmia using combination of CNN and LSTM techniques with variable length heart beats', Computers in Biology and Medicine, 102, pp. 278–287. https://doi.org/10.1016/j.compbiomed.2018.06.002..

Quan, W., Chen, Z., Gao, J. and Hu, X. (2018) 'Comparative study of CNN and LSTM based attention neural networks for aspect-level opinion mining', in 2018 IEEE International Conference on Big Data (Big Data). IEEE, pp. 2141–2150. https://doi.org/10.1109/BigData.2018.8622153.

Kiranyaz, S., Ince, T. and Gabbouj, M. (2016) 'Real-time patient-specific ECG classification by 1-D convolutional neural networks', IEEE Transactions on Biomedical Engineering, 63(3), pp. 664–675. https://doi.org/10.1109/TBME.2015.2468589.

de Chazal, P., O'Dwyer, M. and Reilly, R.B. (2004) 'Automatic classification of heartbeats using ECG morphology and heartbeat interval features', IEEE Transactions on Biomedical Engineering, 51(7), pp. 1196–1206. https://doi.org/10.1109/TBME.2004.827359.

Moody, G.B. and Mark, R.G. (2001) 'The impact of the MIT-BIH Arrhythmia Database', IEEE Engineering in Medicine and Biology Magazine, 20(3), pp. 45–50. https://doi.org/10.1109/51.932724.

# Appendices

## Appendix A: 12-Week Project Gantt Chart

The plan runs across Phases 1–7, from the literature review through to the dissertation write-up and code release. Completed phases are shaded green and planned phases blue.

| Phase / Task | W1 | W2 | W3 | W4 | W5 | W6 | W7 | W8 | W9 | W10 | W11 | W12 |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Phase 1 — Literature Review & Proposal Finalisation |  |  |  |  |  |  |  |  |  |  |  |  |
| Phase 2 — Dataset Acquisition & Pre-processing |  |  |  |  |  |  |  |  |  |  |  |  |
| Phase 3 — Feature Engineering & Formatting |  |  |  |  |  |  |  |  |  |  |  |  |
| Phase 4 — Architecture Implementation & Tuning |  |  |  |  |  |  |  |  |  |  |  |  |
| Phase 5 — Comparative Evaluation & Imbalance Analysis |  |  |  |  |  |  |  |  |  |  |  |  |
| Phase 6 — Error Analysis & Interpretation |  |  |  |  |  |  |  |  |  |  |  |  |
| Phase 7 — Dissertation Write-up & Code Release |  |  |  |  |  |  |  |  |  |  |  |  |

■ Completed    ■ Planned

## Appendix B: Preprocessing Validation Figures

These figures support the dataset and EDA sections. The first shows the raw ECG against the zero-phase Butterworth-filtered signal; the second shows GQRS R-peak detection against the expert annotations on record 100.

Figure B.1 — Raw versus 0.5–40 Hz zero-phase Butterworth-filtered ECG. Baseline wander and high-frequency noise are removed without shifting the QRS in time.

Figure B.2 — GQRS R-peak detection on record 100: 2,272 detected against 2,273 true beats (Se = 0.9996, PPV = 1.0000).

## Appendix C: Key Code Listings

The two functions below are the core of the shared preprocessing path and are what guarantees the three architectures receive comparable inputs. The first cuts every beat into the same fixed window and drops incomplete or non-beat annotations; the second turns each beat window into the 12-dimensional feature vector used by the MLP.

### C.1 Beat segmentation into the shared 234-sample window

def segment_beats(signal, r_peaks, labels, fs=360, pre_ms=250, post_ms=400): pre = int(pre_ms / 1000 * fs) post = int(post_ms / 1000 * fs) beats, beat_labels = [], [] for peak, label in zip(r_peaks, labels): if label is None: continue # skip non-beat annotations (+, ~, ¦, x, etc.) start, end = peak - pre, peak + post if start < 0 or end > len(signal): continue # skip incomplete beats at signal edges beats.append(signal[start:end]) beat_labels.append(label) return np.array(beats), np.array(beat_labels)

### C.2 Multi-domain feature extraction (time, frequency, wavelet)

from scipy.stats import skew, kurtosis import pywt import pandas as pd def extract_features(beat, fs=360): feats = {} # 1. Time-domain feats['mean'] = np.mean(beat) feats['std'] = np.std(beat) feats['skew'] = skew(beat) feats['kurtosis'] = kurtosis(beat) feats['rms'] = np.sqrt(np.mean(beat**2)) # 2. Frequency-domain fft_vals = np.abs(np.fft.rfft(beat)) feats['dominant_freq'] = np.argmax(fft_vals) feats['spectral_energy'] = np.sum(fft_vals**2) # 3. Wavelet-domain (db4, level 4) coeffs = pywt.wavedec(beat, 'db4', level=4) for i, c in enumerate(coeffs): feats[f'wavelet_energy_L{i}'] = np.sum(c**2) return feats feature_dicts = [extract_features(b) for b in beats] feature_df = pd.DataFrame(feature_dicts) print(feature_df.shape) print(feature_df.head())

## Appendix D: GitHub logs